EIA Guidelines

For

Proposed Desalination Plants

Department of Environment

Ministry of Environment and National Development Unit

MAY  2005

This paper is not a legal document. It serves only as a guideline, which provides recommended approaches and formats for the preparation of a comprehensive EIA report on proposed desalination plant.

This guideline has been prepared by the Ministry of Environment and National Development Unit in consultation of various stakeholders. It should be used with flexibility, as a solid base of practical information to stimulate developer innovation. It is also meant to be used alongside various other Government advices that set out policy and guidance relating to desalination.

Soft Copies of this guideline can be requested from the Environment Assessment Desk of the Department of Environment or can be downloaded from the website of this Ministry.

http://environment.gov.mu

STAKEHOLDERS CONSULTED DURING PREPARATION OF THIS GUIDELINE:

Ministries / Authorities

- Ministry of Environment & NDU

- Ministry of Housing and Lands

- Ministry of Public Utilities

- Ministry of Agriculture, Food Technology and Natural Resources

- Ministry of Fisheries

- Ministry of Health and Quality of Life

- Ministry of Public Infrastructure & Land Transport (Road Development Authority)

- Ministry of Local Government and Solid Waste Management

- Wastewater Management Authority

- Ministry of Industry & Medium Enterprises, F.S & C.A

- Central Water Authority

- Water Resources Unit

- Mauritius Ports Authority

- Local Authorities

- Government Fire Services

- Irrigation Authority

- Board of Investment

- Mauritius Oceanography Institute

- University of Mauritius

- AHRIM

- Agricultural Research and Extension Unit

NGOs

- The Wildlife Club of Mauritius

- Friends of the Environment

- Mauritius Marine Conservation Society

- Institute for Environmental and Legal Studies

- Eco-Sud

EIA Consultants

- Dr Harry Phoolchand

- Delphinium Ltd

- Sigma Consultant

- Scene – Ries

- Gexim Land Consultants Ltd

- Servansing Jadav & Partners – Consulting Engineers Ltd

TABLE OF CONTENTS

|  | CONTENTS | Page Number |
| --- | --- | --- |
| 1.0 | INTRODUCTION | 6 |
| 1.1 | Purpose and Scope of Guideline | 6 |
| 1.2 | Project Profile for Desalination Plant | 7 |
| 1.2.1 | Need for Desalination Plant in Mauritius | 7 |
| 1.2.2 | Project Description | 7 |
| 1.2.3 | Environmental Aspects | 9 |
| 1.3 | Need for EIA | 10 |
| 1.4 | Required Expertise | 10 |
| 1.5 | Pertinent National Environmental Regulations | 10 |
| 1.6 | International Treaties | 12 |
| 2.0 | FACTORS TO CONSIDER WHEN PREPARING THE EIA REPORT | 13 |
| 2.1 | Early Consideration of the Strategic Context | 13 |
| 2.2 | Early Assessment of Options | 14 |
| 2.2.1 | Cost benefit Analysis of a Desalination Plant | 14 |
| 2.3 | Identifying Issues | 15 |
| 2.4 | Prioritising Issues | 16 |
| 3.0 | CONTENTS OF AN EIA FOR DESALINATION PLANT | 17 |
| 3.1 | Title Page | 17 |
| 3.2 | Table of Contents | 17 |
| 3.3 | Executive or Non-Technical Summary | 17 |
| 3.4 | Introduction | 17 |
| 3.5 | Site and Project Description | 18 |
| 3.5.1 | Site Description | 18 |
| 3.5.2 | Project Description | 18 |
| 3.6 | Full Description of the existing environment | 20 |
| 3.6.1 | Establishment of Baseline Data | 20 |
| 3.7 | Climatic Conditions and Associated Impacts | 21 |
| 3.8 | Predicted Environmental Impacts and Potential Mitigating Measures | 21 |
| 3.8.1 | Construction Phase | 21 |
| 3.8.2 | Operation Phase | 22 |
| 3.8.2.1 | Impacts upon the physical environment | 22 |
| 3.8.2.1.1 | Energy Use | 22 |
| 3.8.2.1.2 | Air Quality | 22 |
| 3.8.2.1.3 | Coastal and Marine Environment Issues | 23 |
| 3.8.2.1.4 | Land Issues | 25 |
| 3.8.2.1.5 | Landscaping and Visual Impact Assessment | 26 |
| 3.8.2.1.6 | Growth –inducing impacts | 26 |
| 3.8.2.2 | Ecological impacts | 27 |
| 3.8.2.3 | Impacts on humans | 28 |
| 3.8.2.3.1 | Social Impacts | 28 |
| 3.8.2.3.2 | Socio cultural and socio economic issues | 28 |
| 3.8.2.3.3 | Impacts on Human Health and Safety | 29 |
| 3.8.2.3.4 | Noise Impact Assessment | 29 |
| 3.8.3 | Decommissioning Phase | 30 |
| 3.8.4 | Risk Assessment | 30 |
| 3.8.5 | Residual Impacts | 30 |
| 3.8.6 | Cumulative and synergistic effects | 30 |
| 3.9 | Environmental Monitoring Plan | 30 |
| 3.9.1 | Identification of any additional studies necessary to implement the mitigating measures or monitoring and proposals recommended in the EIA report | 31 |
| 3.10 | Implementation Schedule | 31 |
| 3.11 | Enhancement Opportunities | 32 |
| 3.12 | Consultation | 32 |
| 3.12.1 | Public Consultation | 32 |
| 3.12.2 | Consultation with Ministries and other Authorities | 32 |
| 3.13 | Alternatives | 33 |
| 3.14 | Conclusions and Summary of Environmental Outcomes | 33 |
| 3.15 | Appendices | 33 |
| 4.0 | PROPONENT CHECKLIST FOR DESALINATION PLANT | 34 |
| Annex 1 | Requirements of an EIA report according to EPA 2002 | 37 |
| Annex 2 | Guidelines for the submission of EIA reports in soft copy versions | 39 |
| Appendix 1 |  | 41 |
| Annex 3 | Proposed format for an Environmental Monitoring Plan | 42 |
| References |  | 44 |

1.0	INTRODUCTION

  - PURPOSE AND SCOPE OF GUIDELINE

Environmental Impact Assessment (EIA) is a process having the ultimate objective of providing decision makers with an indication of the likely environmental consequences of a proposed activity.

In presenting a clear and comprehensive statement of those components which need to be included in an EIA report for desalination plants, the guideline will not only assist developers and their consultants prepare better quality Environmental Impact Assessment reports but will also ensure that sufficient information is available for a proper assessment and for good decision making.

This guideline is by no means exhaustive. Not all matters outlined in this guideline will be applicable to every proposed development. The EIA report should be tailored to suit the potential impacts of the proposal. Proponents and consultants are advised to also consult other relevant documents such as the National Development Strategy (2004), Planning Policy Guidance by the Ministry of Housing and Lands and relevant regulations and acts (listed at section 1.5) as well as to consult the general guidelines “A Proponent’s Guide to Environmental Impact Assessment” prepared by this Ministry and available on this Ministry’s website http://environment.gov.mu

The proponent checklist presented at Section 4.0 is designed as a method for reviewing the adequacy of the EIA in terms of compliance to the requirements of the EPA 2002 and generally accepted good practice in EIA.

As our understanding and awareness of the environment improve, this guideline will be updated to reflect new ideas or issues.

  - PROJECT PROFILE FOR DESALINATION PLANT

    - NEED FOR DESALINATION PLANT IN MAURITIUS

As a small island state, Mauritius is highly vulnerable to natural calamities such as cyclones, droughts and floods. In 1999, the country experienced a long period of drought, which badly impacted on domestic water supplies, agriculture, industry and tourism. This was the first time when many sectors of the economy realised that they have to cater for an alternative supply of freshwater.

Such long periods of drought are well–known in many parts of the world and there is now evidence that such long spells of drought are linked to climate change. Unless we are prepared for such events, our economy, more particularly those sectors, which are heavily dependent on a large supply of freshwater, may be jeopardised. In addition, climate change may also impact negatively on our coastal aquifers resulting in saline intrusion. These aquifers may be seriously affected as salty groundwater rises with sea level rise. It is therefore imperative to look at available new technologies to generate new supplies of fresh water and one such technology is desalination.

    - PROJECT DESCRIPTION

Desalination is the process of removing salt, other minerals, or chemical compounds from seawater to provide a source of potable water for domestic purposes, industrial processing, irrigation, power plant applications, and recharging of groundwater supplies. The challenge to coastal and island communities whose ground and/or surface water supplies are constantly under threat is to look for a reliable source of fresh water supplies all around the year.

Desalination reduces typical seawater at about 34,000 part per million (ppm or mg/L) to an acceptable drinking water standard of below 500 ppm total dissolved solids (TDS).  A by-product of desalination is brine. Brine is a concentrated salt solution (with more than 35 000 mg/1 dissolved solids) that must be disposed of, generally by discharge into deep saline aquifers or surface waters with a higher salt content. Brine can also be diluted with treated effluent and disposed of by spraying on golf courses and/or other open space areas.

The most common methods are reverse osmosis and distillation. "Reverse Osmosis" is one of the most successful method of desalination.

The implementation of desalination plants also imply the construction of:

- A seawater inlet pipeline linking the sea water inlet (beach well or inlet located in the ocean /lagoon) and the desalination plant and

- A brine discharge pipeline linking the desalination plant to the brine discharge outlet, which must be located in the ocean in line with international and national legislations.

Figure 1 and figure 2 show the Reverse Osmosis and multi stage flash distillation respectively.

Figure 1: Reverse osmosis process

Figure 2: Multi-stage flash distillation

    - ENVIRONMENTAL ASPECTS

Desalination can result in potentially significant impacts to the natural environment, namely adverse impacts during construction, significant amounts of energy use for their operation and air emissions, etc. The severity of the impacts in large part depends on overall plant design and operation, methods used for effluent disposal and specific physical and biological conditions in the vicinity of the plant.

However the greatest concern is the adverse impact to the marine resources in the vicinity of a desalination plant and this due to the discharge of the hyper-saline water that remains as a byproduct from the desalination process. This saline brine effluent is generally about twice as salty as the ambient seawater. However, this varies quite a bit depending upon the specific technology being used, and can range anywhere between 46 000 and 80 000 ppm (typical salinity in the region is around 33000 ppm). This effluent is denser than seawater and tends to sink to bottom where it becomes concentrated. Both high levels of concentration and fluctuations in salinity levels may kill sensitive organisms near the outfall. The impacts of the brine effluent vary widely as a function of the location of the outfall. Impacts are generally more severe in rocky substrate than sandy seafloor habitats. Other issues associated with the discharge are: increased turbidity and concentration of organic substances and metals that are contained in the feed waters. Additional impacts specific to distillation facilities include concentration of metals picked up through contact with the plant components, thermal pollution and decreased oxygen levels.

Intake of water directly from the ocean usually results in loss of marine species as a result of impingement and entrainment. Impingement is when organisms collide with screens at the intake, and entrainment is when species are taken into the plant with the feed water and are killed during plant processes. Impingement and entrainment impacts can be mitigated by the use of certain designs and technologies. Properly engineered intake structures can reduce the potential or entrainment and impingement, and in certain cases the need for chemicals.  Structures such as onshore intake wells or infiltration galleries have been proven highly effective. Appropriately sized screens at the intake, as well as low velocity water flow are potential mitigation measures for open water intake structures.

The coastal zones of Mauritius are undoubtedly under heavy use and the pressure will not cease in the foreseeable future given the expansion of the tourism industry and other developments. The number of tourists visiting Mauritius is on the increase. The Government is already committed to a target of one million tourist arrivals by the year 2005. Economically, the coastal zone is by far the most valuable segment of the Mauritian territory. Located here are the tourist facilities of very high standard, secondary homes, ports, the fisheries infrastructure and the public beaches.

Coastal and marine resources of small island states are of vital importance to their socio- economic development. These resources have suffered from the process of development and are at risk from internal and external threats including climate change and sea level rise. Action to protect these resources is a priority for current and future plans. The implantation of a desalination plant will only add further pressure to the coastal zones and have adverse impacts on the marine ecosystem.

  - NEED FOR EIA

Any development proposal listed in the First Schedule under Part IV, Section 15 (2) of the Environment Protection Act (EPA) 2002 requires an Environmental Impact Assessment (EIA) Licence. In fact, desalination plants are mentioned in Subsection 11 of the First Schedule of EPA 2002. Requirements of an EIA report according to EPA 2002 is at Annex 1.

A proponent applying for an EIA licence shall submit in electronic form and in 15 printed copies of his EIA report and any such additional copies as may reasonably be required by the Director.  Guideline for submission of EIA reports in soft copy version is at Annex 2.

  - REQUIRED EXPERTISE

Depending on the scale of the activity / project, a team of cross-functional professionals with sufficient experience may conduct the EIA for desalination plants.

The areas of expertise may include:-

- Environmental fields /process designs / Cleaner Production

- Hydrographic survey/hydrodynamics / geology / hydrogeology

- Coastal / Chemical/Mechanical engineering

- Oceanography/Water resources / Marine biology

- Socio/environmental/Natural resource – economics

- Surveying/architecture / Planning

  - PERTINENT NATIONAL ENVIRONMENTAL REGULATIONS

The following environmental regulations as well as policies and standards need to be complied amongst others.

- Environment Protection Act 2002 (GN no. 73 of 27 July 2002)

- Fisheries and Marine Resources Act, 1998 (GN no. 22 of 1998)

- Rivers and Canals Act 1863

- Public Health Act (GN no. RL4/323 – 24 April 1982)

- Planning and Development Act, 2004

- (Dumping Waste and Waste Carriers Licence) Regulations 2002

- Refuse Collection Regulations made by relevant Local Authority

- Environment Protection (Collection, Storage, Treatment, Use, Disposal of used oil) Regulations 2005 (GN no. 4 of 2005)

- Environment Protection (Drinking Water Standards) Regulations 1996 (GN no. 72 of  22 June 1996)

- Environment Protection (Environmental Standards for Noise) Regulations 1997 (GN  no. 17 of 1997)

- Environment Protection (Standards for Air) Regulations 1998  (GN no. 92 of 29 August 1998)

- Environment Protection (Standards for Hazardous wastes) Regulations 2001 (Page 21) (GN no.  157 of 2001)

- Environment Protection (Standards of Effluent for use in Irrigation) Regulations 2003 (GN no. 46 of 2003)

- Environment Protection (Standards of Effluent Discharge Permit) Regulations 2003 (GN no. 43 of 2003)

- Environment Protection (Standards for Effluent Discharge into the Ocean) Regulations (GN no. 45 of 2003)

- Guidelines for Coastal Water Quality

  - INTERNATIONAL TREATIES

International agreements/conventions relevant to the construction of desalination plants are given herein.

- United Nations Convention on the Law of the Sea (UNCLOS), 1982

The main objective is the obligation to prevent pollution damage by addressing particular sources of pollution, including those from land bases activities, seabed activities, dumping, vessels and from or through the atmosphere. Mauritius has ratified the UNCLOS, which entered into force on the 16th November 1994.

- Ramsar convention on Wetlands  (http://www.ramsar.org/)

Mauritius has signed the Ramsar convention on 30 September 2001.  It owes its origin to the urgent need to combat widespread drainage and destruction of wetlands and the habitats they provide for migratory species, notably waterbirds.  Thus, construction of desalination plant should therefore not adversely affect any wetland habitat in Mauritius.  Selected sites should be at least 30 m from wetlands.

- International Convention for the Safety of Life at Sea(SOLAS), 1974

- Convention for the Protection, Management and Development of the Marine and Coastal Environment in the Eastern African Region and Related Protocols (Nairobi Convention)

2.0	FACTORS TO CONSIDER WHEN PREPARING THE EIA REPORT

The outcome of an EIA is a formal document, which presents all the relevant information about the EIA process. Four bodies of information arise from an EIA process: methodology, data, results and conclusions derived from them.  The use of graphical information such as maps, tables and graphs, is an effective way of improving communication. The EIA shall also be accompanied by supported appendices, the baseline study report and the environmental assessment that will provide technical detail on specific issues, assumptions and modeling projections.

However, the document must also provide a summary level of detail adequate to allow the average reader to make an informed decision on the project.

It is the proponent’s responsibility to identify and address, as fully as possible, the matters relevant to the specific proposal and to comply with the statutory requirements for the preparation of an EIA report. The following factors are important when preparing an EIA report:

- Early Considerations of the Strategic Context

- Early Assessment of Options

- Identifying Issues

- Prioritising Issues

  - EARLY CONSIDERATIONS OF THE STRATEGIC CONTEXT

Prior to embarking on a desalination plant, a proponent and /or his consultant(s) shall ensure that the proposed development is compatible with the zoning of the site and that relevant clearances including planning clearance, land conversion permit, rezoning certificate, lease agreement and clearance from Fire Services, CWA, CEB have been obtained.

- If the undertaking is not in the appropriate zone and in the absence of proof of land ownership/ authorization to use the site for the proposed development, the application will not be considered

- No permit for development shall be granted in respect of an undertaking , unless there is in relation to it an approved preliminary environmental report or an EIA Licence.

- No development shall be allowed on sensitive coastal areas including mangroves and wetlands; and conservation areas and their buffer zones, e.g. marine parks, islet nature reserves and islet natural park

- Natural drains shall not be blocked

- The beach and the sea shall remain a public domain

- Selected sites shall ensure the following buffers:

- At least 50m from High Water Mark (HWM)

- At least 30m from wetlands

- 30 m from any waterbody as per Rivers and Canals Act 1863

- Intake of water for desalination shall not be located near any wastewater outfall

- The resulting wastewater must be treated and discharged to the satisfaction of the Wastewater Management Authority so that no prejudice is caused to the quality of our water resources and our lagoons

- There should be a proper sanitary seal for any borehole

- Measures proposed for the protection of water resources shall be to the satisfaction of Ministry of Public Utilities

- Measures proposed for the protection of marine resources shall be to the satisfaction of Ministry of Fisheries and MOI

- The microclimatic conditions of the site plant shall be taken into consideration in the design and location of the plant

- Heavy fuel oil (HFO) or diesel shall not be used in the desalination plant.  Electricity, gas, kerosene or solar energy shall be the preferred option for energy use.

  - EARLY ASSESSMENT OF OPTIONS

The objectives for the undertaking should be developed to fulfil any identified need and should encompass the principles of Sustainable Development (SD).  SD principles should be considered when identifying options for all aspects of the proposal.  All feasible alternatives that could satisfy the objectives of the proposal should be considered.  When weighing up options, the biophysical, economic and social costs and benefits throughout the whole life cycle of the proposed development should be considered.  The “do nothing” option should also be included in these considerations.

    - COST BENEFIT ANALYSIS OF A DESALINATION PLANT

Desalination of seawater can be an important technology for ensuring a reliable coastal water supply; however, the conditions under which desalination is appropriate must be carefully identified and considered. Variables that determine cost for desalinated water among others include:

- Water source: From an economic standpoint, one of the primary benefits of seawater as a source of potable water is that it is free. Seawater is seen as inexhaustible and non interruptible, and therefore not subject to price variations due to scarcity or supply and demand.

- Review energy cost for bulk water uses and availability of suitable local energy sources:  Energy requirements are the single largest direct cost in producing desalinated water.  It continues to represent about half the cost in such operations.

- Desalination methods: distillation generally has higher energy costs than reverse osmosis because of the need to heat the source water. In assessing the applicability of each technology the following should be considered: Installation cost, Engineering cost, Maintenance cost, Power consumption, Ease of control and manipulation, the yield, their lifetime

- Scale and capacity of facilities: there may be economies of scale with certain types of desalination facilities, although this is likely to depend on the particular characteristics and location of a given facility.

- Analyze the economics and engineering issues of distributing desalinated water through existing networks: A desalination facility must be able to either connect to an existing distribution system or construct new distribution system to get water to the end users. This cost will vary by location, size of the service area, and other factors.

- Review cost of demand management and alternative sources of water supply from CWA.

- Review cost of desalinated water versus water from CWA

- Review and assess current user tariffs

- Explore the economic costs of desalination excluding any subsidies on capital costs

- Maintenance and cleaning: Each desalination facility requires some level of anti fouling treatment and regular maintenance and cleaning, which will vary on the desalination method used, the type of materials used and other factors.

- Full time or part time operations: the capital and maintenance cost must be analysed. Given the prohibitive operational cost, desalination plants can also be run on an “as required” basis to back-up the normal main supply in dry seasons.

  - IDENTIFYING ISSUES

The general framework for an EIA is usually a precursor to identifying potential environmental issues; the proponent must be able to outline:

- the important characteristics of the project which will determine the scope of the potential impacts

- the proposed site and a preliminary assessment of sensitivity of the site.

If the proposed characteristic on the site should change, then the potential comforts may also change. If at any time change occurs, the scoping process for the EIA should be reviewed.

  - PRIORITISING ISSUES

The EIA process should focus attention on the key issues of concern. Not all issues identified will have the same degree of relevance for all proposals. The relative importance placed on different issues will vary from case to case, and is a function of the scale of the proposal and the sensitivity of the receiving environment. Issues should therefore be prioritized according to their importance in the decision- making process.

When prioritising issues, consideration should be given to the potential severity, temporal and spatial extent of any beneficial and adverse effects; their direct impacts as well as any indirect, secondary, tertiary or cumulative impacts; and whether the effects are continuous or intermittent, temporary and reversible or permanent and irreversible.

The outcome of the identification and prioritisation process should result in:

- a list of all issues with a preliminary estimate of the relative significance of their impacts

- identification of the key issues

- an explanation as to why other issues are not considered key.

The EIA should address the key issues as fully as practicable. However the level of analysis should reflect the level of significance of the impacts and their importance on the proposal.

3.0	CONTENTS OF AN EIA FOR DESALINATION PLANT

The EIA on a proposed desalination plant shall ensure that all the environmental parameters have been addressed and their consequences recognised and taken into account in the project design.  The EIA report should not comprise statements of a general nature but instead shall provide substantive and indicative information on the proposed activity, the measures proposed to mitigate all adverse impacts as well as the opportunities for environmental enhancement so as to enable a proper assessment.

The EIA shall be duly signed and dated by either the proponent or his appointed legal representative and countersigned by the consultant. Under section 85(1) of EPA 2002, any person who submits a false report or submits a report misleading in any material particular or provides false or misleading information shall commit an offence.

The format below provides a guide on the content of an EIA report for proposed desalination plant.

  - TITLE PAGE

This should contain details of

- The full title under which the EIA has been prepared

- Location of project

- The team responsible for the EIA or name(s) of the consultant(s)/consultancy firm

- The proponent names and signatures

- The date of application

  - TABLE OF CONTENTS indicating the different chapters with their respective page numbers

  - EXECUTIVE OR NON-TECHNICAL SUMMARY

The summary should be concise and give a short overview of the proposal to facilitate understanding of the proposal by the general public.  The language used should be simple and non-technical.

It should primarily focus upon key environmental impacts and the proposed mitigating measures and should include a clear map or aerial photograph of the location.

  - INTRODUCTION

It should provide background information on the project, promoters, any experience in similar projects, project cost-benefit analysis, time scale for the development and employment opportunities as well as the technical, economical and environmental features essential to the project.

  - SITE AND PROJECT DESCRIPTION

This section should describe the site and project and indicate the justification and rationale underlying the project.

    - SITE DESCRIPTION

A description should be given in general terms to indicate the nature and broad character of the local environment.

- Ownership of land and proof thereof, or lease agreement clearly indicating the owner’s consent to the project ; Land extent

- Present zoning of site as per approved Outline Scheme (obtainable from the Town & Country Planning Board or the local authorities)

- Certified and comprehensive site and location plans drawn to scale (1:2500) with known landmarks as reference points and showing water bodies, wetlands and any other critical habitat, boreholes, residential areas, animal farms and hotels in the surroundings, etc together with aerial photographs

- Site characteristics in terms of site location, landform (topography plan); present and past land use (if known), indication of other similar projects in the surroundings, accessibility to site and width of access roads, existing infrastructures and availability of public utilities, flora and fauna

- Surrounding environment indicating adjacent residential areas / built-up environment, environmentally sensitive areas, watercourses ,boreholes, designated sites of interest, other attributes of the area e.g. amenities, recreational and agricultural values, location of risk groups

- Compatibility of land uses and proposed activity within the area

    - PROJECT DESCRIPTION

This should describe the project and indicate the justification and rationale underlying the project, including:

- The project proponent

- Objective and justification of project (Future demand for additional water requirements should be clearly stated)

- Benefits and disbenefits of the project

- Details on the water treatment plant

- Components of the project including raw materials, processes, products, types of pollutants and their concentration, etc

- Design, size and scale of the project

- Detailed specification of technology to be used; its maintenance and viability (The extent, magnitude, duration, severity, significance, etc of impacts will depend on the technology used and on the scale of the activity)

- Nominal capacity of plant (m3 /day)

- Source and volume of sea/feed water intake. Physical, chemical and biological characteristics, process of intake, pre-treatment and storage of feed water (with appropriate design calculations and drawings).

- Quality of water to be produced including the level of total dissolved solids in parts per millions (ppm) (The uses of the water to be produced should be specified – whether for drinking or / and other domestic and / or commercial uses)

- Types of machinery to be used on site (The equipment and the plant should be certified (ISO, AU, etc) and comply with International Standards)

- Plans and policies with which the project conforms

- Detailed site / layout plan drawn to scale (1:2500) indicating site boundaries (as per title deeds) and showing all structures proposed to be put up on site (including fuel tanks, brine silos, freshwater silos and their respective capacities, treatment/disposal of brine, intake and outfall pipes including their respective sizes and length and flow rate of the liquid) with setbacks from boundaries (including setbacks and landscaping works from high water mark (HWM), minimum distance of plant from the sea, minimum distance of plant from nearby residential areas and hotels, swimming and other nautical activities, etc)

- The type, dimension and length of submarine pipelines to be used

- The pipe laying methodology and the means of anchoring the said pipelines

- A layout plan indicating the exact pipeline route and depth (longitudinal and cross sections on land and underwater)

- Detailed plans of buildings including elevations, plot coverage and gross Floor Area (Any associated building to be built to accommodate the equipment of the desalination plant should be designed to be in harmony with the coastal environment using hard and soft landscaping features)

- Extent of land area covered v/s open space

- Provision of parking facilities ; entrances and exits ; Access to public transport

- Provision for utilities and resources

- Time scale of operation (number of months in operation, number of hours per day, whether permanent or temporary)

- Capital investment, operating costs and waste disposal costs

- Source and volume of brine/wastewater generated. Physical, chemical and biological   characteristics, storage, treatment and disposal of brine/wastewater (with appropriate design calculations and drawings)

- Cleaning process and discharge of resulting wastewater

- Storage and disposal of membrane in case of Reverse Osmosis technology

- Detail design, specification and layout of surface drains for storm water disposal indicating its final exit

- Source, type, generation, collection and disposal of solid waste (alternative such as re-use and recycling should be considered); Mass balance

- A specification of requirements with respect to extreme events (cyclones, floods , sea level rise , tsunamis , earthquake , etc)

- Training requirements of the project

- Employment opportunities during construction , operation and decommissioning

- Contingency plan in case of fuel spill and/or brine spill (The contingency plan should clearly indicate the procedures and persons to be contacted in the case of such an event)

  - FULL DESCRIPTION OF THE EXISTING ENVIRONMENT

The description should provide details of the environment in the vicinity of the development site and any aspects of the wider environment likely to be affected by the project.  In this regard, topological, physical, visual, meteorological, social, cultural, heritage, economic and aesthetic aspects should be considered.  The relevant descriptions should be elaborated and to serve as a baseline for assessing environmental effects.

    - ESTABLISHMENT OF BASELINE DATA

- Data source, data collection methodology e.g. survey, matrix or checklist and results of site investigation

- Any constraints in collection of data or omissions in data collected and proposed remedial measures

- Result of site investigation in form of a geotechnical report including subsurface strata, maximum level of water table and results of a soil percolation test, trial pits etc

- Information on the uncertainties and assumptions involved in interpreting or using results for predictive methods and analytical techniques and a description of gaps in baseline and other data used in the preparation of the EIA report.

- Baseline data on prevailing ambient air quality, water quality, background noise , soil characteristics , ecological resources and conditions (including existing flora, fauna and habitats, natural features, site sensitivity and ecologically sensitive areas, microclimate, hydrology / hydrogeology, management practices, type of existing coastal development, etc)

- Physical, chemical and biological characteristics of the coastal water and also details on the flushing in the lagoon and out reef should be given.

- A bathymetric study of the lagoon and the adjoining outer ocean

- The description of the chemical oceanography parameters including sea water analyses, determination of lagoon and ocean water salinity, temperature, horizontal and vertical visibility measurements using Secchi Disk reading and description of any sign of anthropogenic contamination or pollution, in the area of project

- The quantification of the physical oceanography parameters including the wave and tidal patterns, the water circulation and the currents velocity and direction to determine the brine dispersion patterns

- The description of the geological oceanography including the type of substrate (whether coralline or rocky) to cater for the risks of brine permeation into coralline substrates underwater.

  - CLIMATIC CONDITIONS AND ASSOCIATED IMPACTS

Description of the expected environmental conditions at the time of probable project implementation, e.g. temperature, rainfall, wind direction, wind speed and associated constraints e.g. summer season, rainy season, cyclonic period, tidal regime and respective water current studies etc.

3.8	PREDICTED ENVIRONMENTAL IMPACTS AND POTENTIAL MITIGATING MEASURES

This part should include impacts during construction , operation  phase and decommissioning phase on the following issues: affected stakeholders/community; air quality; noise; water quality of existing terrestrial water body in the surrounding; solid and liquid waste management; terrestrial ecology, visual and landscape (obstruction of views by machinery, piping, or tall structures) disturbance of dune, surfing zone, and seafloor ecology including marine flora and fauna, critical coastal habitats; disturbance to archaeological resources; erosion; interference with public access and recreation; non-point source pollution. For each impact the section should state steps to be taken to avoid or reduce it and the likely effectiveness and adequacy of mitigation.

    - CONSTRUCTION PHASE

- Impacts of construction and demolition activities (if any) on the physical environment such as site preparation, removal of vegetation, risk of soil erosion, loss of amenity, levelling and other earthworks to be undertaken, like placing water pipes for inland water distribution, power transmission lines and distribution facilities

- Frequency, duration and location of intrusive operations

- Transport of raw materials

- Public nuisances in terms of noise, dirt, odours, fumes, visibility , emissions, traffic implications

- Any proposed filling, or dredging activities in coastal waters

- Impacts of construction of a sea water inlet pipeline linking the sea water inlet and the desalination plant

- Impacts of construction of a brine discharge pipeline linking the desalination plant to the brine discharge outlet

POTENTIAL MITIGATION MEASURES

- Proper timing of construction activities

- Mitigation measures commonly required for construction activities should be incorporated (e.g., construction schedules that minimize impacts on public access and recreation, visual screening, noise buffers, siting away from high resource areas, limited construction zones and corridors, etc.)

- The numbers and lengths of pipelines and power transmission lines should be minimized

- Site pipeline routes to minimise impacts to sensitive areas;

- Site plants in locations where existing intake or outfall structures may be used or minimise the size of new seawater intake and outfall structures; and

- Sediment control measures during construction of plant should be specified

- Architectural design and natural buffers to reduce visual impacts

- Precautionary measures against risk of sand erosion

    - OPERATION PHASE

      - IMPACTS UPON THE PHYSICAL ENVIRONMENT

        - ENERGY USE

Desalination plants require significant amount of energy for their operation. Secondary impacts resulting from the increase in power production needed for the desalination plants should also be considered. These impacts include higher levels of air emissions, increased entrainment and impingement of fish from intake of cooling water, higher levels of hot water discharges to the ocean, and effects from additional transportation and storage of fuel namely oil and gas.

POTENTIAL MITIGATION MEASURES

- Preference for desalination technologies and plant designs that reduce energy consumption; one method for reducing energy use in all types of desalination plants is by employing energy recovery method.  For instance, in the case of distillation, heat in the brine and fresh water leaving the plant, is used to preheat the feedwater.

- Use of renewable energy resources (solar energy, Ocean Thermal energy), when feasible;

- Siting of the proposed plants near to power plants capable of cogeneration.

        - AIR QUALITY

According to EPA 2002 new development shall comply with requirements imposed on air pollution. The production of energy for use in desalination plants, however, will increase air emissions. In addition, substantial increases in air emissions could occur if a new power plant or cogeneration facility is built for a desalination project.

- Emissions inventory to indicate the sources, baseline and incremental concentrations

- Dispersion of pollutants and air quality modeling

- Impacts of the air pollutants on human health and the environment

- Assessment of impacts by comparing concentrations with standards

POTENTIAL MITIGATION MEASURES

- Compliance to Air quality regulations / guidelines

- Preference for reduced energy use, and

- Use of alternative energy sources to minimize air emissions

- Carry out regular maintenance on all plant components

- Preference for desalination technologies and plant designs that reduce energy consumption; one method for reducing energy use in all types of desalination plants is by employing energy recovery method.  For instance, in the case of distillation, heat in the brine and fresh water leaving the plant, is used to preheat the feed water

- Use of renewable energy resources (solar energy, Ocean Thermal energy), when feasible;

- Siting of the proposed plants near to power plants capable of cogeneration.

        - COASTAL AND MARINE ENVIRONMENT ISSUES

Marine resources in the vicinity of a desalination plant can be affected by the constituents present in the waste discharges, by the waste discharge method used, and by the process of feedwater intake.

The constituents of water discharged from desalination plants depend in part on: the desalination technology used; the quality of the intake water; the quality of water produced; and the pre treatment, cleaning, and Reverse Osmosis (RO) membrane storage methods used. All desalination plants use chlorine or other biocides, which are hazardous to marine resources, to clean pipes and other equipment and sometimes to pretreat the feedwater.

In general, discharges from desalination plants may have the following types of potentially adverse constituents and qualities:

- Salt concentrations above those of receiving waters (seawater salt concentration is about 32000 ppm; desalination plants discharge brine with 46,000 to 80,000 ppm).

- Temperatures above those of receiving waters (about 5° C increase at the point of discharge) for discharges from distillation plants;

- Turbidity levels above those of receiving waters;

- Oxygen levels below those of receiving waters from deaeration to reduce corrosion (distillation plants only);

- Chemicals from pretreatment of the feedwater (these may include biocides, sulfur dioxide, coagulants (e.g., ferric chloride), carbon dioxide, polyelectrolytes, anti-scalants (e.g., polyacrylic acid), sodium bisulfite, antifoam agents, and polymers);

- Chemicals used in flushing the pipelines and cleaning the membranes in RO plants (these may include sodium compounds, hydrochloric acid, citric acid, alkalines, polyphosphate, biocides, copper sulfate, and acrolein);

- Chemicals used to preserve the RO membranes (e.g., propylene glycol, glycerine, or sodium bisulfite);

- Organics and metals that are contained in the feedwater and concentrated in the desalination process; and

- Metals that are picked up by the brine in contact with plant components and pipelines.

The EIA report should give details on the:

- Impacts on water quality and the ability of the water body to assimilate and     disperse the pollutant ( dilution factor , residence time)

- Current and wave frequency at intake point and any proposed outfall

- Impacts to the marine environment from accidental discharges of hazardous materials

- Impacts to commercial fishing and navigation during construction of intakes and outfalls and during operation;

- Interference with public access and recreation from pipelines, wells or other structures;

- Impacts from increased chloride concentration - RO product water may have higher levels of chlorides than other water sources (using product water with high levels of chloride for irrigation may result in more water use and adverse impacts on soils; chloride levels should be reduced.

- Cumulative impacts of the desalination plants in the coastal zone

- Detail design, specification and layout of surface drains for storm water disposal indicating its final exit

- Impacts on sediment transport and consequences on the beach morphology

POTENTIAL MITIGATION MEASURES

- Alternative treatment processes and technologies that eliminate the need for biocides can also be used. For example, ultraviolet light may be used instead of biocides to remove biological organisms;

- Intake and outfall siting and design to avoid sensitive locations and not to be located near any waste water outfalls;

- Low flow velocities at intake channels and through intake structures to minimize entrainment and impingement of marine species and to reduce the need for pretreatment;

- Intake design to reduce the potential for entrainment and impingement (e.g., screens at the intake to reduce entrainment);

- Use of onshore intake wells or infiltration galleries to eliminate entrainment of marine species;

- Outfall siting and design to ensure an adequate mixing rate and dilution volume to minimize adverse impacts;

- Outfalls to the open ocean, not to estuaries or other areas with limited water circulation;

- Use of pretreatment techniques that minimize or eliminate the need for hazardous chemicals; Removal of hazardous constituents, organic compounds and nutrients (sulphates and phosphates) in the brine waste stream prior to discharge;

- Evaluation of whether landfill disposal would have more or less impacts than ocean disposal;

- Mixing with sewage treatment plant or power plant cooling water discharges (when mixing of discharge streams is intended, ensure that a desirable proportion of each discharge is maintained to enhance dilution);

- Use of pipes that have minimal corrosive properties by hazardous substances (polyethylene or titanium is preferable to copper nickel); and

- Timing of operations to minimize impacts (e.g., intermittent operations to minimize discharges at times during the lunar month when fish migrations are highest; or operation only during the winter season when the ocean is more turbulent, and discharges would be more readily diluted).

- Quality control procedures and personnel training to avoid accidental discharges of hazardous chemicals;

- Secondary containment for chemical feed lines and provisions for leak detection;

- Placement of navigational buoys on any new intakes and outfalls;

- Notification of commercial fishing interests prior to constructions

- Provisions for public access and timing of construction to avoid peak recreational periods;

- Architectural design and natural buffers to reduce visual impacts;

- Equipment enclosures to reduce noise levels;

- Siting to avoid pollutants near the intake; and

- Recycling or reuse of solid wastes

        - LAND ISSUES

- Impacts on land , boreholes , caverns ,rocks

- Discharge or release of persistent and / or toxic chemicals, microbiological agents, radiation or thermal energy

- If  disposal of  brine on land, then result of site investigation in form of a geotechnical report including subsurface strata, maximum level of water table and results of a soil percolation test, trial pits etc, negative effects on the quality and/ or quantity of the biophysical environment

- Whether land contamination ; soil being contaminated with pollutants

- Geological characteristics of site being determined by geological maps ( rock types present on site and in surrounding area , properties  of these rocks , location of any lines of weakness within the bedrock)

- Impacts on water table and treatment proposed

- Impacts on geology of site  and the likely geological constraints such as geological feature being threatened with destruction, the potential for vegetation growth in soil being compromised

- Traffic implications, including a brief traffic impact analysis

- Whether height of buildings causing communication network interference

POTENTIAL MITIGATION MEASURES

- Proper siting

- Colonisation of vegetation to stabilise slopes and to establish nutrient cycling

- Sediment control measures

        - LANDSCAPE AND VISUAL IMPACT ASSESSMENT

- Loss of areas of distinctive landscape character, valued landscapes (e.g. local beauty spots), specific landscape elements (coastline, woodlands), viewers of the landscape  (residents, tourists, visitors), conservation interest (archeological sites, historic landscapes, important habitats)

POTENTIAL MITIGATION MEASURES

- Careful siting , planning and design of the development to ensure that it is sympathetic to its surroundings

- Preservation of scenic views and valued features

- Compensation for the loss of landscape resources e.g. mature vegetation by replacing with an equivalent resource e.g. planting new trees

        - GROWTH-INDUCING IMPACTS

The construction of desalination plants to meet water supply needs may result in growth-inducing impacts. Limited water is often the major constraint to development in many parts of the coast. Therefore, new desalination projects in coastal areas could lead directly to new development and a resulting increase in population migration to coastal areas. New development served by the plant could in turn interfere with long-term regional goals for growth control.

POTENTIAL MITIGATION MEASURES

- Siting of plants near existing seawater intake facilities (e.g., intake pipelines or seawater wells);

- Siting of plants near existing energy sources and distribution systems;

- Siting of plants near existing fresh water distribution mains to distribute the product water;

- Sizing of plant capacity to be commensurate with the planned level of development

- Assessment of the long-term growth-inducing impacts of proposals for long-term projects and for projects that are intended to be temporary, but may become permanent in the future

      - ECOLOGICAL IMPACTS

#### Ecological impact assessments are concerned with impacts not only on the structural features of the ecosystems (e.g. habitats, species) but also on their functional aspects (e.g. nutrient cycling).

Predicting the ecological impacts of development is one of the most difficult stages in the assessment process due to the complexity of natural systems and the still limited knowledge of how ecosystems function and respond to external changes.

Three main approaches or categories of techniques for ecological evaluation have been identified.

- Systematic approaches are the most frequently used technique and involve an assessment of the characteristics of habitats or ecosystems

- Indicator species approaches rely on the presence (or absence) of particular species, which can be used as surrogate for more complex or comprehensive data

- Inventory approaches are the least used technique and primarily involve producing a classification of the ecological resources under consideration, following which each category can be evaluated.

The EIA Report should include:

- Prediction of the ecological impacts of the proposed development

- Direct losses of habitats, flora and fauna, natural features (Feeding grounds, shelter, breeding sites and areas used during seasonal migration may be lost) , including habitat fragmentation

- Negative effects on the health of biota including plants , animals and fish

- Threat to rare and endangered species

- Reduction in species diversity or disruption of food webs

- Determining the significance of the ecological impacts. Factors include the timing

- of the impact, duration and frequency of the impact, timescale within which the    impact is being investigated, spatial scale of an evaluation, the nature conservation value of a species or habitat

- Disturbance of aquatic organisms and aquatic habitats

- Hydrological disturbances – changes in the quality and quantity of surface and groundwater flows

- Changes in the physico-chemical environment.

POTENTIAL MITIGATION MEASURES

- Proper siting of project away from sensitive or protected areas

- Proper timing of construction activities if possible, when valued species are absent

- Use of pollution control equipment and establishment of appropriate working practices   such as the fencing of working areas to reduce disturbance to adjacent habitats

- Proposed restoration programmes e.g. landscaping and rehabilitation proposals and their role in mitigating impacts such as compensatory rehabilitation with indigenous species; provision of new appropriate habitats; opportunities for colonisation habitat restoration,

- Compensation or enhancement, i.e. to compensate for the adverse effects of the proposals by enhancing the conservation value of non- impacted sites

- Translocation / transplantation of plant and /or animal species to sites not affected by the development

      - IMPACTS ON HUMANS

        - SOCIAL IMPACTS

- Impacts on local populations, namely demographic aspects ,displacement of people, labour demands, etc

- Impacts on social infrastructure namely educational, recreational and health care facilities; transport; waste collection, treatment and disposal facilities; housing; water and power supply; public safety

- Impacts on land use namely conversion of land use from primary agricultural land, etc

        - SOCIO CULTURAL AND SOCIO ECONOMIC ISSUES

There may also be social and economic consequences, which could be either positive or negative, arising from development.  The economic and social impact of desalination plant should be examined in order to establish the total impact of such developments on the environment.  This needs to be done not only in terms of costs, but also in terms of potential benefits of a development.

Possible effects to be considered in the EIA may include:

- local market demand for potable water

  - analysis of supply of domestic water from CWA

  - future demand for potable water

- Economic impacts in terms of their potential effects on employment opportunities and income levels

- Increase in unemployment and shrinkage in the economy

- Potential economic impacts as a result of this development in terms of cost-benefit analysis

Socio-cultural impacts including adjacent centres of population; current activities carried out by different stakeholders; and recreational use on site.

- Impacts on cultural property, also termed as cultural heritage or cultural resources such as sites, structures and remains of historic, religious, cultural, archaeological or aesthetic value. Man- made features (e.g. burial grounds, monuments, listed buildings) as well as unique, natural sites (e.g. waterfalls, lakes, mountains) must be considered.

- Reduction of the quality and quantity of recreational opportunities or amenities

- Detrimental changes in the current use of lands and resources for traditional purposes;  loss of religious sites

        - IMPACTS ON HUMAN HEALTH AND SAFETY

- Negative effects on human health , well-being or quality of life

- Studies of Health effects and risks resulting from potential exposures to health hazards

- The nature, magnitude and likelihood of exposure should be assessed

- Health and Safety Plan shall be provided.

POTENTIAL MITIGATION MEASURES

- Safety measures for personnel, protective equipment as per Health and Safety Regulation

- Medical check up of workers

- Capacity building and training of personnel (There should be competent and trained personnel to operate the desalination plant)

        - NOISE IMPACT ASSESSMENT

- Type of noise in terms of level or magnitude, frequency, duration and constant or intermittent nature

- Timing, for example daytime versus night

- Type of equipment and machinery used during construction and operation

POTENTIAL MITIGATION MEASURES

- Careful choice of site location, layout, machinery and processes

- Fitting of silencers to engines

- Maintenance of equipment

- The source of noise should be enclosed

- Acoustic screening

- Soundproofing e.g. by fitting double glazed windows

    - DECOMMISSIONING PHASE

Information pertaining to the decommissioning of the project at the end of its life cycle and associated impacts, proposed measure to return the site as far as possible to its former state, or rehabilitation measures, sediment control measures

    - RISK ASSESSMENT

- Frequency and severity of adverse events such as chemical spillage, technological failure, natural disasters, etc

- Probability of occurrence, reversibility, catastrophic potential, impacts on humans and the environment

    - RESIDUAL IMPACTS

The EIA should indicate all unavoidable impacts. These should be justified in terms of benefits of the project and enhancements.

    - CUMULATIVE AND SYNERGISTIC EFFECTS

- The ability of the natural and social environments to assimilate cumulative stresses placed on them

- The likelihood of negative synergistic effects

  - ENVIRONMENTAL MONITORING PLAN (EMP)

Environmental Monitoring Plan (EMP) should include provisions made for on-site monitoring during site preparation, construction, operation and decommissioning phases; future maintenance requirements; and provision for audit during the operation of the project. The proposed general format for EMP is at Annex 3.

The EMP should include the following pertinent information:

- During the project inception stage: a description of the baseline information and a benchmarking exercise based on the oceanographic characteristics in the form of an Oceanographic Report describing the bathymetry as well as the biological, chemical, physical and geological oceanographic characteristic of the lagoon and the outer ocean before the project is implemented.  The Oceanographic Report should include the setting up of at least three monitoring stations; one within the lagoon in front of the site; one monitoring station at the brine discharge point in the outer ocean and one control site far from the site to confirm if there is any local or general degradation of the marine environment.  The monitoring sites should be clearly marked in the water using pegs and Line Intercept Transects for benthic surveys, fish count, seawater quality analyses and underwater photographs should be replicable at the various stages of the project.

- During the project implementation phase: the monitoring sites should be surveyed and checked regularly (at least once a week) using the same methodology as described in the previous paragraph to detect any sign of beginning of environmental degradation during the works on land and in the sea

- During the project commissioning and operation, the monitoring should be effected on the same sites using the same methodology as described above at regular intervals of at least three months to detect any sign of degradation of the marine biodiversity and take any remedial action as required before it is too late.

    - IDENTIFICATION OF ANY ADDITIONAL STUDIES NECESSARY TO IMPLEMENT THE MITIGATING MEASURES OR MONITORING AND PROPOSALS RECOMMENDED IN THE EIA REPORT

The proponent should indicate if other studies would be required in due course to monitor effectiveness of proposed mitigative measures.

  - IMPLEMENTATION SCHEDULE

The proponent should provide an implementation schedule for the proposed project which shall include:

- EIA Reference

- Environmental impacts identified

- Recommended mitigation measures

- Objectives of the recommended measures and main concerns to address

- Responsible officer (party to implement the measures)

- Location of the impacts and measures

- Appropriate Implementation time and place of the measures

- Requirements or standards for the measure to achieve

- Responsible officer/party to provide feedback to the relevant authorities

  - ENHANCEMENT OPPORTUNITIES

A brief outline should be given of any enhancement work such as landscaping and embellishment which is planned. This should be distinguished from mitigation measures, which are integral to the project and form part of the proposed development. For example upgrading of an access road for the public; participating in environmental upgrading campaigns; providing community services and compensation to affected stakeholders.

  - CONSULTATION

    - PUBLIC CONSULTATION

This section should indicate who has been contacted about the project.  It should include:

- Statutory bodies, environmental and amenity groups and local residents, local fishermen, hotel operators, leisure boat operators etc. likely to be affected by the proposed development.

- Means for contacting the public for providing publicity about the project (leaflets, public display, questionnaires, letters, etc.).

- A brief summary of responses of public detailing the areas of concern highlighted and their contribution to the EIA.

    - CONSULTATION WITH MINISTRIES/ AUTHORITIES AND ORGANISATIONS

Proponents and consultants embarking on a desalination plant are advised to consult the following Ministries/ Authorities prior to finalising their EIA report:

- Ministry of Housing & Lands

- Ministry of Agriculture, Food Technology & Natural Resources

- Ministry of Public Utilities (WMA, WRU, CWA)

- Ministry of Public Infrastructure and Land Transport (RDA)

- Ministry of Local Government and Solid Waste Management

- Ministry of Fisheries

- Ministry of Health & Quality of Life

- Ministry of Industry & Medium Enterprises, F.S & C.A

- Government Fire Services

- Municipalities/ District Council

- Mauritius Research Council

- Mauritius Oceanography Institute

- Beach Authority

  - ALTERNATIVES

This section should give an outline of:

- The alternatives to the project

- The “Do Nothing” option - what will be the outcome of not undertaking the project?

- the alternative considered to be the “ most environmentally friendly” even if this is not the project

- Can the project be undertaken elsewhere?

- Any alternative manner or process in which the undertaking may be carried out so as to cause less harm to the environment.

- An evaluation of the impacts of each alternative, with clear information on the criteria used to assign significance and for rejecting the alternatives

- The stage in the planning process when they were rejected

  - CONCLUSIONS AND SUMMARY OF ENVIRONMENTAL OUTCOMES

Include any irreversible residual impacts, which cannot be mitigated.

  - APPENDICES

These should include information, which would cluster the main body of the text, such as plans and maps; species lists; press releases; written responses to the project.

As appropriate, include any additional technical information and description of approaches or methods used to provide conclusions in the EIA report; a full list of reference materials; names and qualifications/expertise of the EIA consultants and experience in preparing pertinent EIA Reports for the previous years.

4.0	PROPONENT CHECKLIST FOR DESALINATION PLANT

- EIA duly signed by proponent or legal representative__________________________

- EIA duly signed by consultant who prepared the report_________________________

- Number and quality of printed  EIA copies submitted (18)______________________

- Name and Address of Proponent___________________________________________

- Name, address and qualifications of consultants_______________________________

- Conformity of soft copy version to proposed guidelines________________________

- Title page_____________________________________________________________

- Table of contents_______________________________________________________

- Executive or non-technical summary_______________________________________

- Introduction___________________________________________________________

- Background information on project, promoters, any experience in similar projects___________________________________________________________

- Project cost-benefit analysis___________________________________________

- Time scale for development___________________________________________

- Employment opportunities____________________________________________

- Technical, economical and environmental features of project_________________

- Site Description________________________________________________________

- Copy of Title deed / Notary’s Certificate / Permission from Owner____________

- Zoning, land extent__________________________________________________

- Site plan (prepared and signed by land surveyor)___________________________

- Context plan_______________________________________________________

- Certified site / location plan to scale ____________________________________

- Known landmarks___________________________________________________

- Surrounding environment_____________________________________________

- Number of similar undertakings in the area_______________________________

- Compatibility of land uses within the area________________________________

- Project Description_____________________________________________________

- Principle , concept and purpose of desalination plant________________________

- Benefits and disbenefits of the project___________________________________

- Design, size and scale of project________________________________________

- Capacity of plant(m3 per day)__________________________________________

- Quality of water to be produced________________________________________

- Source and volume of sea/feed water intake_______________________________

- Types of machinery to be used_________________________________________

- Detailed site/layout plan______________________________________________

- Detailed specification of technology used_________________________________

- Plans policies and regulations with which the project conforms_______________

- Detailed plans of buildings____________________________________________

- Capital investment___________________________________________________

- Provision for utilities_________________________________________________

- Surface drains______________________________________________________

- Disposal of wastewater_______________________________________________

- Disposal of solid waste_______________________________________________

- Contingency plan____________________________________________________

- Description of existing environment________________________________________

- Baseline data_______________________________________________________

- Detailed bathymetric study of lagoon____________________________________

- Physical, chemical and biological characteristics of the coastal water___________

- Climatic conditions and Associated impacts__________________________________

- Predicted Environmental Impacts and Potential Mitigating measures______________

|  | Construction Phase | Operation Phase | Decommissioning Phase |
| --- | --- | --- | --- |
| Environmental Issues | Impacts | Mitigating Measures | Impacts | Mitigating Measures | Impacts | Mitigating Measures |
| Energy use Air quality Coastal and marine issues Land issues Landscape and visual impact Growth – inducing impacts Ecological Impacts Social impacts Socio- cultural and economic impacts Human health and safety Noise impact Risk assessment Residual impacts Cumulative and synergistic effects |  |  |  |  |  |  |

- Environmental Monitoring Plan (EMP)_____________________________________

- During site preparation and implementation phase_______________________

- During operation phase____________________________________________

- During decommissioning phase_____________________________________

- Identification of additional studies_________________________________________

- Implementation schedule_________________________________________________

- Enhancement opportunities_______________________________________________

- Public consultation _____________________________________________________

- Consultation with relevant stakeholders_____________________________________

- Permit / clearances obtained___________________________________________

- Alternatives___________________________________________________________

- Conclusion____________________________________________________________

- Appendices___________________________________________________________

- References____________________________________________________________

ANNEX 1

REQUIREMENTS OF AN EIA REPORT  ACCORDING TO EPA 2002

The Environment Protection Act provides a general guide on the contents of an EIA document which shall contain a true statement and description of:

- the name and address of the proponent;

- the ownership of the undertaking and of the land on which it is being conducted;

- the name, address and qualifications of the consultant who prepared the EIA;

- the precise location and surroundings of the undertaking, the zoning of the site and the number of similar undertakings in the area;

- the principle, concept and purpose of the undertaking;

- the direct or indirect effects that the undertaking is likely to have on the environment;

- an assessment of the social, economic and cultural effects which the undertaking is likely to have on the people and society;

- any actions or measures which the proponent proposes to take to avoid, prevent, change, mitigate or remedy, as far as possible, the likely effects of the undertaking on the environment;

- an assessment of the inevitable adverse environmental effects that the undertaking is likely to have on the environment, people and society, where it is implemented in the manner proposed by the proponent;

- an accurate assessment of the irreversible and irretrievable commitment of resources which will be involved in the undertaking, where it is implemented in the manner proposed by the proponent;

- any alternative manner or process in which the undertaking may be carried out as to cause less harm to the environment;

- an environmental monitoring plan;

- information pertaining to the decommissioning of the project at the end of its life cycle and associated impacts, proposed measures to return the site as far as possible to its former state, or rehabilitation measures;

- in the case of a new infrastructure proposal, an environmental management plan to be implemented during the construction phase; and

- such other information as may be necessary for a proper assessment and review of the potential impact of the undertaking on the environment, people and society.

Furthermore Section 19 states that, the EIA shall contain particulars of the schedule of works undertaken by the proponent and his consultants in the preparation of the EIA, including particulars of any consultation held with the public in the area where the undertaking is to be located.

Section 18 also provides for the EIA to be accompanied by:

- satisfactory proof of ownership of the undertaking;

- a site plan prepared and signed by a land surveyor;

- a non-technical summary of the report;

- a certificate issued by a notary expressing his opinion as to the ownership of the land on which the undertaking is to be executed, or where the proponent is not the owner of the land, by a written evidence of the permission of the owner, and a certificate issued by a notary expressing his opinion as to the owner’s title.

On applying for an EIA licence, a proponent shall submit to the Director of Environment an EIA report:

- in electronic form, and in 15 printed copies, and such additional copies as may reasonably be required by the Director;

- Signed by the proponent or his duly appointed legal representative and countersigned by the consultant who prepared the report.

Furthermore, the Director may request such additional information from the proponent as he thinks necessary.

Any proponent who gives false or misleading information, or fails to disclose any material fact or information in a EIA, shall commit an offence, and shall on a first conviction, be liable to a fine not exceeding 50,000 rupees and to imprisonment for a term not exceeding 2 years.

Any proponent who contravenes section 15(2) shall on a first conviction, be liable to a fine which shall be not less than 50,000 rupees and not more than 100,000 rupees and to imprisonment for a term not exceeding 4 years.

The Director of Environment may serve, or cause to be served, on any person who commences or carries on any development or activity without the relevant licence or permit issued under the EPA 2002 a stop order prohibiting the development or the activity.

ANNEX 2

GUIDELINES FOR SUBMISSION OF EIA REPORTS IN SOFT COPY VERSIONS

Under Section 18 of the New Environment Protection Act 2002 and to allow more transparency, applicants submitting EIA reports should submit same in both hard copy and soft copy versions. The objective of adhering to the specifications, as set down below is to ensure that users can download the EIA reports through the Ministry’s Website in a more user-friendly format. In this connection the Ministry strongly appeals to you for your collaboration and co-operation in this matter.

(A)	SPECIFICATIONS OF SOFT COPY VERSION

The soft copy version of the report, which should be identical to the hard copy version, should be submitted in electronic file preferably on a CD or in WinZip format in floppy disks.

- The document should be broken into its different chapters with each chapter in a separate file. The executive summary also should be treated as a chapter and submitted in a separate file. If a chapter exceeds 50MB, then it should be further broken down into files of less than 50 MB.

- The table of contents also should be submitted in one separate file. All the chapters/headings/appendices listed under the table of contents should have proper naming. This is important to allow the user to know which file he/she is accessing.

- The table of contents should provide links to the different chapters including the executive summary and appendices.

- All filenames must:

- be less than 8 characters

- be in small letters

- start with a letter

- The soft copy version should be page numbered, in the same order as the hard copy and should be submitted in any one of the following 2 different formats:

- Html format.

- PDF format

All html files must be in the htm extensions file format. All image files must be in the gif/jpg extension file format.

- The EIA section will open the electronic file in the presence of the applicants in order to ensure that the hard and soft copy versions are absolutely the same. In case the soft copy version does not contain documents, which are present in the hard copy version, the applicants would be called upon to fill in the form as per Appendix 1. Decision to accept or reject the soft copy version would be taken by the EIA Division and the applicants would be informed at a later stage.

The Ministry encourages applicants to submit their soft copy version reports at the time of submission of the EIA reports (hard copy versions) in order to allow timely processing.

Appendix I

Please indicate which documents are missing from the softcopy version of the EIA report

TITLE OF REPORT: ………………………………………………………………………...

…………………………………………………………………………………………………..

…..………………………………………………………………………………………………

…………………………………………………………………………………………………..

…………………………………………………………………………………………………..

…………………………………………………………………………………………………..

…………………………………………………………………………………………………..

…………………………………………………………………………………………………..   …………………………………………………………………………………………………..

…………………………………………………………………………………………………..

………………………………………………………………………………………………......

FULL NAME: …………………………………………………………………………...

DESIGNATION: ………………………………………………………………………..

PHONE: ……………….	FAX: ………………	EMAIL: ………………………….

SIGNATURE: …………………………………………………………………………...

DATE: …………………………………………………………………………………...

FOR OFFICE USE Verified by: ………………………………………………………………………………... Signature: ………………………………………………………………………………….. Date: ………………………………………………………………………………………..

ANNEX 3

Proposed format for an Environmental Monitoring Plan (EMP)

Proposed format for EMP:

- Site Preparation and implementation phase

- Site characteristics (include plans/photographs/drawings/ showing the project area any environmental sensitive receivers and ambient air/water/sea water qualities)

- Works involved and proposed mitigating measures to prevent negative impacts on water course /road users/immediate neighbours.

- Clauses to be included in contract documents to ensure implementation of proposed mitigating measures.

- Person/s responsible for informing the authorities on the date of commencing works and monitoring the proposed mitigating measures.

- Reporting procedures to the authorities.

- Operation Phase

- Parameters to be monitored (e.g. effectiveness of the fire fighting provisions, traffic behaviour to and from the desalination plant, effectiveness of measures taken in respect of liquid and solid waste management, measures adopted in respect of energy conservation and waste minimization techniques).

- Monitoring methodology

- Equipment to be used and calibration details

- Monitoring locations and control stations

- Monitoring frequency and duration

- The institutional system by which monitoring data will be collected, collapsed (standards), analysed, interpreted and action taken if necessary to prevent or reduce unwanted impacts

- Contingency plan (in case of emergencies such as uncontrolled discharge of pollutants, fire outbreak, natural calamities)

- Maintenance component including building maintenance, daily and periodical maintenance of the site, setting up of appropriate maintenance teams for treatment plant, standby generator, etc.

- Management structure for maintenance and monitoring.

- Reporting procedures to the authorities.

- Decommissioning phase

- Works involved and proposed mitigating measures to prevent negative impacts on water course/road users/immediate neighbours.

- Clauses to be included in contract documents to ensure implementation of proposed mitigating measures.

- Person/s responsible for informing the authorities on the date of commencing works and monitoring the proposed mitigating measures.

- Reporting procedures to the authorities.

An EMP should not be taken as a nice piece of paper included in the EIA report to influence positively the decision-maker.  Instead an EMP should be implemented by the proponent, documented in regular reports.  It is proposed that the report resulting from the implementation of an EMP should contain the following:

- An executive summary.

- Basic information on the project including a synopsis of the project organization, management structure (for maintenance and monitoring), and works undertaken during the monitoring works.

- A brief summary on the requirements of the EMP including all parameters monitored; methodology used; environment quality performance/standards limits; environmental mitigating measures as recommended in the EIA report and consent condition imposed in the EIA licence; and environmental requirements in contract documents.

- Status on the implementation of the mitigating measures and pollution control measures.

- Drawings/plans showing the project area, any environmental sensitive receivers and the location of the monitoring and control stations.

- Monitoring results including date, time frequency and duration.

- Presentation of monitored parameters (preferably graphical plots of trends)

- Constraints and any factors which might have affected the monitoring results

- A summary of non-compliance of the environmental quality performance limits.

- A review of the reasons for and the implications of non-compliance including review of pollution sources and working procedures;

- A description of the actions taken in the event of non-compliance and deficiency reporting and any follow-up procedures related to earlier non-compliance;

- A summary record of all complaints received (written or verbal) for each media, including locations and nature of complaints, liaison and consultation undertaken, actions and follow-up procedures taken and summary of complaints;

- A summary record of notification of summons, successful prosecutions for breaches of environmental protection/pollution control legislation, and actions taken to rectify such breaches;

- A forecast of the works programme, impact predictions and monitoring schedule for the next three months; and

- Comments, recommendations and conclusions for the monitoring period.

REFERENCES

- Ministry of Environment (September 2002): Environment Protection Act

- Ministry of Environment (2002): Meeting the challenges of sustainable development

- Ministry of Housing & Lands ( July 2004): Draft Design Guidelines

- Ministry of Housing & Lands (August 1993): Planning Guidelines

- The World Bank (August 1998) : Environmental guidelines

- Asian Development Bank (1993) :Environmental Assessment Guidelines

- Division of water, Environment and forest technology, CSIR, Stellenbosh (Sep. 1996): Strategic Environmental Assessment)

- University of Mauritius, B. Eng Civil Thesis by Ramma/V.Proag : Potential of  Desalination  In  Mauritius

- University of Mauritius, Project by Gogulsing/P.Seejore : Desalination plant at CEB of Port Mathurin Thermal Power Station; Assessment of viability of installing an “Alpha-Laval” desalination Plant

- University of Mauritius, Project by Ahamud/ R.Gopee, UOM, B. Chem. Eng): Desalination of seawater by reverse osmosis process

- http://lnweb18.worldbank.org/mna/mena.nsf

- http://www.coastal.ca.gov/desalrpt/dchap5.html

- http://www.paua.de/desalination.htm

- http://www.paua.de/Impacts.htm

- http://www.cepmagazine.org/

- http://www.aguadulcefreshwater.com/html/about_us.html

- http:/ /www.resources.ca.gov/ocean/97Agenda/Chap5Desal.html

- http://www.surfrider.org/about.asp

- http://www.owue.water.ca.gov/recycle/desal.cfm

- http://www. twdb.state.tx.us/desalination/desal/SOW

Department of Environment

19 May 2005

# Text boxes

Heating Steam

Mist Eliminator

Condensate

Feed Brine

Condenser Tubes

Feed Seawater

Feed Treatment

Distillate

Product Treatment

Reject Brine

Energy Recovery

The objectives of this guideline are namely:-

- To aid in the preparation of reports that are comprehensive in their content and to reduce cost of EIA

- To protect the environment from costly and irreversible mistakes

- To aid review of the reports

- To avoid time delays and cost overruns

The objectives of an EIA are:-

- To determine environmental compatibility of the project

- To evaluate and select the best project alternative from the options available

- To identify and evaluate the significant environmental impacts of the project

- To incorporate environmental management plans and monitoring mechanisms

- To assess the environmental costs and benefits of the project to the community

EPA 2002 - PART VII- COASTAL AND MARITIME ZONE MANAGEMENT

- ‘Coastal zone’

- means any area which is situated within 1 kilometre or such other distance as may be prescribed from the high water mark , extending either side into the sea or inland;

- includes –

- coral reefs , reef lagoons , beaches , wetlands , hinterlands and all islets within the territorial waters of Mauritius and Rodrigues;

- any estuary or mouth of a river and that part of a river , stream or canal which lies within 1 kilometre from the  outermost point of its bank on the sea at high tide;

- the islands of Agalega and St Brandon , and other outer islets.

‘dumping’ means –

- any deliberate disposal of wastes or other matter from vehicles , vessels , crafts , platforms or other man- made structures at sea;

- any deliberate disposal of vehicles , vessels , crafts or other man- made structures at sea

“maritime zone ” means the maritime zone under the jurisdiction of the State of Mauritius , and includes the territorial sea , the exclusive economic zone , and the continental shelf , as defined in the Maritime Zones Act;

“ zone” means the coastal and maritime zones

Membrane Module

Distillate Trays

Distillate from Heat Recovery Section

Brine from Heat Recovery Section

Brine Recycle

Brine Blowdown

Distillate Product

Intake Seawater

Feed Seawater

Cooling Seawater

Environment Protection (Standards for Effluent Discharge into the Ocean) Regulations specify the limits that should not be exceeded regarding the quality of the brine as well as the distance and depth of discharge point. According to this Regulation:

- Where there is a lagoon, the brine should not be discharged at a distance less than 300m off the reef barrier and at a depth of less than 30m.

- Where there is no lagoon, the brine should not be discharged at a distance less than 500m from the High Water Mark (HWM) and at a depth of less than 25m.